## Slide 1
Note for the DL Committee:
The full presentation discusses three lab methods & applications and is comprised of 52 slides.
The presentation is adaptable: only one or two of the lab methods may be presented, which reduces the number of slides to 26 or 38, respectively.

## Slide 2
Innovative lab methods for quicker and more accurate reserves assessment
Nicola Bona
Eni e&p

## Slide 3: Presentation Outline
Introduction
Innovative lab methods
  Ultrafast resistivity index
  Quick fractional wettability
  Efficient trapped gas saturation
Conclusions
Q&A

## Slide 4: Introduction

## Slide 5: Introduction
Accelerating reserves assessment is a strategic imperative
  Core analysis may be a bottleneck for achieving this objective

## Slide 6: Ultrafast resistivity index

## Slide 7: Electric log interpretation
Drilling & Coring
Logging
Prelim. CPI
M
O
N
T
H
S
D
A
Y
S
Lab results
Final CPI
First Assessment
Hydroc. In Place

## Slide 8: Why are lab times so long?
Uneven saturations give erroneous electrical parameters
Equilibrium times for achieving even saturations are long

## Slide 9: Impact on OIP estimation

## Slide 10
Porous plate (months)
Continuous injection (weeks)
FRIM (IFPEN patent)
Current Resistivity Index methods

## Slide 11: Quick resistivity index method - the underlying idea

## Slide 12
Instead of waiting for a global equilibrium, exploit local equilibria that establish in a very short time at a smaller scale
The underlying idea

## Slide 13: Quick resistivity index method - experimental details

## Slide 14
  Saturate the rock sample with brine
  Measure the sample resistivity
  Acquire a magnetic resonance image
  Desaturate in centrifuge (2 hours)
  Measure the resistivity at partial Sw
  Acquire another magnetic resonance image
Quick resistivity Index: workflow

## Slide 15
Resistance measurement
Voltage
Current
Electrode configuration
Resistivity apparatus
Access to whole sample volume
High accuracy in a wide frequency range with any rock resistance
4-planar contact cell

## Slide 16
Resistance measurement
I+
V+
I-
V-
Sample
Equipotential Lines

## Slide 17
Sample imaging
MRI
Sw = 100%
MRI
Sw < 100%
After each electrical measurement, the sample is MR scanned with a resolution (voxel size) of 2 mm3
MRI gives estimates of voxel’s water contents (Φj and Swj)
fj
Swj

## Slide 18
Resistance networks
Two cubic resistance networks are generated
The resistance assigned to the j-th voxel depends on Φj, Swj, m and n
The Archie exponents m and n are assumed to be the same in all voxels

## Slide 19
Network conductivity
sj
Probability of moving:
Probability of staying:
Network conductivity is calculated by means of a Random Walk algorithm

## Slide 20
Extraction of network conductivity
Network conductivity is proportional to the mean-square distance travelled by random walkers at large time

## Slide 21: Quick resistivity index method - extraction of Archie parameters

## Slide 22
Extraction of Archie parameters
m = 1.58
n = 1.51
σEXP
σEXP
Networks’ conductivities are matched to
the experimental measurements

## Slide 23: Quick resistivity index method - applications

## Slide 24
4 WEEKS
Porous Plate
Example 1 – Berea sandstone
MRI method
1 DAY

## Slide 25
2 MONTHS
Porous Plate
Ex. 2 – Laminated sandstone
MRI method
1 DAY

## Slide 26
3 MONTHS
Porous Plate
Ex. 3 – Tight sand
MRI method
1 DAY
n = 2.33

## Slide 27: Quick resistivity index method - summary

## Slide 28
  Reliable n-measurement in the presence of non-equilibrium saturation distributions
  Experimental setup includes centrifuge, MRI, 4-contact cell with co-planar electrodes
  n-measurement takes 1 day
  Any types of Sw heterogeneity can be handled
Quick resistivity index summary

## Slide 29: Quick fractional wettability

## Slide 30
Drawbacks of current methods
Amott and USBM do not allow us to characterize fractional wettabilities
Amott is time consuming
NMR may be inconclusive (response is controlled by other factors)

## Slide 31
Advantages of the new method
Able to discriminate different wettability contributions
Fast and cheap (does not require doped fluids)

## Slide 32
Principle
WATER-WET
OIL-WET
brine
oil
rock
Wettability governs the shape of the water phase
  water wet: elongated shapes
  oil wet: more spherical shapes

## Slide 33
Principle (cont.)
E
WATER-WET
LONG TRAVEL TIME
OIL-WET
SHORT TRAVEL TIME
When an electric field is applied, the ions in the water move
The ions travel a certain distance before getting blocked against an interface
The travelled distance is longer in a water wet rock

## Slide 34
Principle (cont.)
Dielectric permittivity is measured at different frequencies
The resulting curve exhibits a peak
The peak frequency is proportional to the reciprocal of the distance travelled by ions
Applied field frequency
Dielectric permittivity
OIL WET
WATER WET

## Slide 35
Application: fissured carbonate
d(Log e)
d(Log f)
2
4
6
8
-0.8
-0.6
-0.4
-0.2
10
Log (frequency)
MATRIX
FISSURES
PRESERVED
CLEANED
Wettability
change after
cleaning

## Slide 36
Application: fissured carbonate
Oil wet fissures
Strongly water wet matrix

## Slide 37: Quick fractional wettability - summary

## Slide 38
  Quantification of wettability contributions in multiple porosity systems
  Based on high-frequency dielectrometry, relativley simple measurement
  Measurement takes a few minutes
  Any rock type is suitable for this analysis
Fractional wettability summary

## Slide 39: Trapped gas saturation

## Slide 40
Process and output from the lab
Initial Sg
Trapped Sg
Reservoir process to be mimicked
GAS
WATER
Output of lab analysis

## Slide 41
Drawbacks of the standard method
Pickell et al., SPEJ, March 1966
Few data points per analyzed sample
Uses toluene
Countercurrent flow
Saturation homogeneity can be an issue

## Slide 42
Advantages of the new method
Efficient: 30-40 independent observations of trapped gas saturation per analyzed sample
Sustainable: uses water instead of toluene, which is a toxic fluid
Representative: flow is co-current
Robust: saturation homogeneity is no longer an issue

## Slide 43
Experimental workflow
  Coat the lateral surface of a sample
  Saturate with brine
  Desaturate in centrifuge (2 hours)
  Acquire a magnetic resonance image
  Centrifuge under water (30 min)
  Acquire another magnetic resonance image

## Slide 44
Centrifuge tests
sample holder
heat-shrink
tubing
WATER
Desaturation
in air
Co-current water imbibition

## Slide 45
Trapped vs Initial Sg data extrac.
Initial Sg
TRAPPED Sg
IMAGE
INITIAL Sg
IMAGE
Trapped Sg

## Slide 46
Trapped vs Initial Sg data extrac.
Initial Sg
Trapped Sg

## Slide 47
Trapped vs Initial Sg data extrac.
Initial Sg
Trapped Sg

## Slide 48
Trapped vs Initial Sg data extrac.
Initial Sg
Trapped Sg

## Slide 49
Application: sandstone reservoir

## Slide 50: Trapped gas saturation - summary

## Slide 51
  Comprehensive data base with a limited number of rock samples
  Co-current flow → more representative
  Measurement takes one day
Trapped gas saturation summary

## Slide 52: Conclusions

## Slide 53: Conclusions
New lab methods for:
  Resistivity index
  Fractional wettability
  Trapped gas saturation
Times are reduced from months to days
Accuracy of results is improved

## Slide 54: Thank You For Attending! Question & Answer Session